**JCM Project Design Document Form**

|  |
| --- |
| **A. Project description** |

A.1. Title of the JCM project

|  |
| --- |
| Project of Introducing High Efficiency Refrigerator to a Food Industry Cold Storage in Indonesia |

A.2. General description of project and applied technologies and/or measures

|  |
| --- |
| The proposed JCM project aims to save energy by introducing high efficiency refrigerator to a food industry cold storage in Indonesia. The project contributes to reduce 128 tCO2e of greenhouse gas (GHG) emissions annually through installation of a refrigerator in a newly established food industry cold storage of PT Adib Global Food Supplies in West Java Province, Indonesia. The cooling capacity of the refrigerator is 189 kW(\*) and the power consumption is 86kW(\*).  The estimated amount of annual electricity consumption by the project refrigerator is 603 MWh, while that by the reference refrigerator is 776 MWh, which is equivalent to 22% of energy saving.  (\*):Temperature condition: - 25 deg. C, Cooling water fed to condenser: inlet 32 deg. C |

A.3. Location of project, including coordinates

|  |  |
| --- | --- |
| Country | Republic of Indonesia |
| Region/State/Province etc.: | West Java Province |
| City/Town/Community etc: | Kelurahan Bantargebang, Kecamatan Bantargebang, Bekasi |
| Latitude, longitude | 6°18'33.9"S, 106°59'02.8"E |

A.4. Name of project participants

|  |  |
| --- | --- |
| The Republic of Indonesia | PT. Adib Global Food Supplies, PT. Mayekawa Indonesia |
| Japan | MAYEKAWA MFG. CO., LTD. |

A.5. Duration

|  |  |
| --- | --- |
| Starting date of project operation | 25/11/2014 |
| Expected operational lifetime of project | 12years |

A.6. Contribution from developed countries

|  |
| --- |
| The proposed project was partially supported by the Ministry of the Environment, Japan through the financing programme for JCM model projects which provided financial supports up to 50% of initial investment for the projects in order to acquire JCM credits.  As for technology transfer, MAYEKAWA MFG. CO., LTD has conducted OJT training and provided a manual on operation, maintenance and safety measures of the facilities introduced to the project of PT. Adib Global Food Supplies. Maintenance services after project implementation will be provided by PT Mayekawa, which will also contribute to technical transfer through maintenance experiences of the staff of PT. Adib Global Food Supplies. |

|  |
| --- |
| **B. Application of an approved methodology(ies)** |

B.1. Selection of methodology(ies)

|  |  |
| --- | --- |
| Selected approved methodology No. | ID\_AM003 |
| Version number | 1.0 |
| Selected approved methodology No. | N/A |
| Version number | N/A |
| Selected approved methodology No. | N/A |
| Version number | N/A |

B.2. Explanation of how the project meets eligibility criteria of the approved methodology

|  |  |  |
| --- | --- | --- |
| Eligibility criteria | Descriptions specified in the methodology | Project information |
| Criterion 1 | The project installs cooling system at food industry cold storage and frozen food processing plants for the purpose of chilling the food products to below -20 deg. C. | The project installs cooling system at a food industry cold storage for the purpose of chilling the food products below -25 deg. C. |
| Criterion 2 | The project system is a secondary loop cooling system using natural refrigerant. CO2 is used as the secondary refrigerant in the system. | The project system is a secondary loop cooling system using natural refrigerant (NH3 and CO2). CO2 is used as the secondary refrigerant in the system. |
| Criterion 3 | The refrigerator applied in the project cooling system is a two stage compressor refrigerator with a cooling capacity as shown below:  For cold storage: less than 340kW  For individual quick freezer: less than 260kW | The refrigerator applied in the project cooling system is a two stage compressor refrigerator for cold storage with 189kW cooling capacity. |
| Criterion 4 | The compressor of the project refrigerator is controlled by inverter. | The compressor installed in the project refrigerator is NewTon R-6000, which is controlled by an inverter. |
| Criterion 5 | COP of the project refrigerator i (COPPJ,i) is shown below:  For cold storage: more than 2.0  For individual quick freezer: more than 1.5 | The compressor installed in the project refrigerator is NewTon R-6000. The COP is 2.20. |
| Criterion 6 | Periodical check at least once a year is planned. | Periodical check is planned once a year. |
| Criterion 7 | Plan for not releasing the primary refrigerant used for project refrigerator is prepared. In the case of replacing the existing refrigerator with the project refrigerator, refrigerant used for the existing refrigerator is not released to the air. | Plan for not releasing the primary refrigerant used for the project refrigerator is prepared. |

|  |
| --- |
| **C. Calculation of emission reductions** |

C.1. All emission sources and their associated greenhouse gases relevant to the JCM project

|  |  |
| --- | --- |
| Reference emissions | |
| Emission sources | GHG type |
| Electricity consumption by the reference refrigerator | CO2 |
| Project emissions | |
| Emission sources | GHG type |
| Electricity consumption by the project refrigerator | CO2 |

C.2. Figure of all emission sources and monitoring points relevant to the JCM project

|  |
| --- |
|  |

C.3. Estimated emissions reductions in each year

|  |  |  |  |
| --- | --- | --- | --- |
| Year | Estimated Reference emissions (tCO2e) | Estimated Project Emissions (tCO2e) | Estimated Emission Reductions (tCO2e) |
| 2013 | 0 | 0 | 0 |
| 2014 | 58 | 45 | 13 |
| 2015 | 575 | 447 | 128 |
| 2016 | 575 | 447 | 128 |
| 2017 | 575 | 447 | 128 |
| 2018 | 575 | 447 | 128 |
| 2019 | 575 | 447 | 128 |
| 2020 | 575 | 447 | 128 |
| Total (tCO2e) | 4,083 | 3,174 | 909 |

|  |  |
| --- | --- |
| **D. Environmental impact assessment** | |
| Legal requirement of environmental impact assessment for the proposed project | No |

|  |
| --- |
| **E.** **Local stakeholder consultation** |

E.1. Solicitation of comments from local stakeholders

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| The project activity is limited to installation of a new high efficient refrigerator in a new cold storage with a limited level of potential social and environmental impact. The PP identified local stakeholders as the local governments: Bekasi Regency Government and West Java Provincial Government as there is no residence within the area where any environmental impact may be caused by the proposed project.  The PP conducted a local stakeholder consultation meeting (face to face meeting) described as below:  [Date] 9:30 – 11:30 8th December 2014  [Venue] Conference room of the West Java Provincial Government  [Agencies participated in the consultation]   |  |  | | --- | --- | | No | Organization | | 1 | International Cooperation Division, Regional Autonomy and Cooperation Bureau, Government of West Java Province | | 2 | Department of Communications and Information, Government of West Java Province | | 3 | Social Service Bureau, Government of West Java Province | | 4 | Regional Environmental Management Board of West Java Province (BPLHD Jawa Barat) | | 5 | Economic Bureau, Government of West Java Province | | 6 | Fishery and Marine Department, Government of West Java Province | | 7 | Agriculture and Food Crops Department, Government of West Java Province | | 8 | Industry and Trade Department, Government of West Java Province |   For the following agencies which were unable to attend the local stakeholder consultation meeting mentioned above, PP provided the distributed documents in the meeting to these agencies and requested them to provide their comments by email.   1. Regional Development Planning Board of West Java Province (BAPPEDA Jawa Barat) 2. Regional Environmental Agency of Bekasi Regency (BPLHD Kota Bekasi) |

E.2. Summary of comments received and their consideration

|  |  |  |
| --- | --- | --- |
| Stakeholders | Comments received | Consideration of comments received |
| International Cooperation Division, Regional Autonomy and Cooperation Bureau, Government of West Java Province | We welcome the implementation of proposed projects under the JCM between Indonesia and Japan. | No action is needed. |
| We support the promotion of the low carbon technologies. We hope there would be another chance for us to seek for other projects. | No action is needed. |
| Economic Bureau, Government of West Java Province | We are ready to support JCM project. | No action is needed. |
| Social Service Bureau, Government of West Java Province | This technology can contribute to Indonesia by its high efficiency. However, the price seems to be too high for the fishery communities and SMEs to consider using it. Financial support scheme for the communities or SMEs by Indonesian side needs to be considered. | No action is needed. |

|  |
| --- |
| **F. References** |
|  |

Reference lists to support descriptions in the PDD, if any.

|  |
| --- |
| **Annex** |
|  |

|  |  |  |
| --- | --- | --- |
| **Revision history of PDD** | | |
| Version | Date | Contents revised |
| 01.0 | To be added | First Edition |
|  |  |  |
|  |  |  |